## Slide 1
GH
REF

## Slide 2
ACT
REF
ACT district heating peak = 160k W
REF district heating peak = 34k W
~ 5 times higher
- actual energy s 12 times higher

## Slide 3
ACT
REF
cause of mismatch! DDY

## Slide 4
ACT
REF
site-ground + Fcfactor both are defined in ref.

## Slide 5
ACT
REF
Changed solar
Infiltration in ref:
no cores
includes plenums
Infiltration in act
- incl cores, but infil=0
omits plenums
Some infil through plenum in ours need to add

## Slide 6
ACT
REF

## Slide 8
heating sizing factor GH > 1; ACT = 1